## Table 8A-1
Table 8-A-1
Provide a detailed description for each of the Photovoltaic Systems proposed at each potential Solar PV Site. Use one column per PV System. If the response is the same for a given group of systems, you may provide a single response for the group and merge the relevant adjacent cells. Refer to Section 7.2.4.8 of the RFP for guidance when completing the table.
|  | PV System/Site | PV System 1: Allen Avenue Elementary School | PV System 2: Arma J. Shull Elementary School | PV System 3: Bonita High School | PV System 4: Ed Jones Educational Center / District office / BUSD Transportation | PV System 5: Fred Ekstrand Elementary School | PV System 6: Gladstone Elementary School | PV System 7: Grace Miller Elementary School | PV System 8: J. Marion Roynon Elementary School | PV System 9: La Verne Heights Elementary School | PV System 10: Lone Hill Middle School | PV System 10: Oak Mesa Elementary School | PV System 10: Ramona Middle School | PV System 10: San Dimas High School
Capacity | 1a) | Power capacity measured at inverter input (DC kW)
| 1b) | Power capacity measured at electrical interconnection point (CEC-AC kW)
Cost | 2a) | Total Installed System Cost ($) including interconnection
| 2b) | Cost per Watt-dc ($)
PV Modules | 3a) | Number of PV modules
| 3b) | PV module manufacturer and model number
| 3c) | PV module efficiency (%)
| 3d) | PV cell efficiency (%)
| 3e) | Module PTC rating
Inverters | 4a) | Number and size of inverters
| 4b) | Inverter manufacturer and model number
| 4c) | Inverter efficiency (%)
Production | 5a) | Expected annual output production (AC kWh) during an average weather year, after taking into account any shading factors.
| 5b) | In a separate Excel file, provide the annual output of each proposed PV System in hourly intervals (i.e., for each PV System, one column with 8760 rows of consecutive hourly output data, with the first row corresponding to the first hour of a calendar year). The total of the hourly intervals must correspond to the annual output provided in item 5a) in Table 8-A-1 above. | Please separately provide this electronic file labeled "Appendix 8-A-1 PV Production, 5b."
Interconn. | 6a) | Provide a description of the integration of each Photovoltaic System with campus electrical system and the interconnection of each Photovoltaic System with utility grid.
25-year O&M Agreement | The District intends for the Design-Builder to provide comprehensive operations and maintenance, including corrective maintenance, of the Photovoltaic Systems for a term of twenty-five (25) years.
| 7a) | Provide the annual pricing ($), exclusive of any annual price escalation rate (itemized separately from the cost of the Photovoltaic Systems) of the O&M program. ($)
| 7b) | Provide the annual price escalator, if any, for years 2-25. (%)
25-year Performance Guarantee | The District expects to require an output or performance guarantee for a term of twenty-five (25) years. A summary description of the performance guarantee is provided in the Guide to Table 8-A-1 in Section 9.3.4.8. Details on the performance guarantee are contained in Exhibit G.
| 8a) | Indicate what annual cost ($), if any, would need to be added to each of your PV System proposals to include a performance guarantee as described above and in Exhibit G. ($/year)
| 8b) | Provide the annual price escalator, if any, for years 2-25. (%)

## Table 8A-2
Table 8-A-2
Please provide the additional supporting information below for the proposed Photovoltaic Systems. We expect that much of the information requested in the table below will apply to the solar PV systems at all sites. However, if the answer differs by potential solar PV site, please indicate in your answer the sites to which the information applies. Refer to Section 7.2.4.8 of the RFP for guidance when completing the table. For all required attachments as indicated below, place them in an Appendix labeled Appendix 8-A-2 and label each attachment with the corresponding name and number/letter below (e.g., "Data Sheets,10a").
Choice of Modules and Inverters | 9a) | Explain the factors that led to your choice of PV module.
| 9b) | Explain the factors that led to your choice of inverter.
Data Sheets | 10a) | In a labeled attachment, provide manufacturing data sheets for the modules. | Please provide as attachment labeled "Data Sheets, 10a" in Appendix 8-A-2
| 10b) | In a labeled attachment, provide manufacturing data sheets for the inverters. | Please provide as attachment labeled "Data Sheets, 10b" in Appendix 8-A-2
Mounting | 11a) | Rooftop Mounting System – Describe for each proposed rooftop system the type of mounting system proposed, and its features to optimize performance and aesthetics.
| 11b) | Parking Lot Mounting Systems -- Describe the type of mounting system proposed, and its features to optimize performance and to enhance aesthetics.
| 11c) | Indicate whether the design has a current DSA precheck and if so the DSA precheck #.
Metering | 12a) | Describe the metering system that will be used for the PV system.
| 12b) | Confirm that the meter is currently listed with the CEC and meets the minimum meter requirements set forth in the California Solar Initiative ("CSI") Handbook, Section 5, Metering Requirements.
System Commissioning | 13a) | Describe in detail the commissioning process your firm would employ for each PV System, including but not limited to references to manufacturer's specifications, calibration according to NIST, and how the proposed process would meet or exceed the requirements contained in Section 4 of the CEC's Guide to Photovoltaic System Design and Installation.
| 13b) | Confirm that all labor, equipment, and costs necessary to conduct system commissioning, including any required troubleshooting and corrections will be provided by your firm, and that no costs for same will be incurred by the District.
System Startup | 14a) | Describe the system startup and proving period processes that your firm will undertake and complete, including the documentation of results that will be provided to the District.
Performance Verification and Monitoring | 15a) | Indicate if and how your firm would provide system performance monitoring and historical data access for the District via a secure website.
| 15b) | Describe the staff employed by your firm in charge of system monitoring and the total number (not limited to just this project) of FTE (full time equivalent) associated with this function.
| 15c) | In a labeled attachment, provide resumes of employees and/or subcontractors engaged in system monitoring for your firm. | Please provide as attachment labeled "Performance Verification and Monitoring, 15c" in Appendix 8-A-2
| 15d) | Provide a detailed description of your proposed system output performance verification methodology. Is it remote? Is it web-based? Provide a detailed description of the end-user interface.
| 15e) | Provide the number of operational systems under management by your firm.
| 15f) | Provide a detailed explanation of your firm's response protocols to the full range of sources of Photovoltaic System underperformance.
Operations and Maintenance Program | The District intends for the Design-Builder to provide comprehensive maintenance, including corrective maintenance, of the Photovoltaic Systems for an initial term of fifteen (15) years.
| 16a) | Thoroughly describe the scope of the proposed maintenance program. Be sure to clearly explain the extent, and limitations, of the corrective maintenance aspect of this program, i.e., what is and is not the Design-Builder's responsibility to correct.
| 16b) | In a labeled attachment, provide a copy of your firm's proposed operations and maintenance service contract. | Please provide as attachment labeled "Operations and Maintenance Program, 16b" in Appendix 8-A-2
| 16c) | Describe your firm's relevant prior experience performing system maintenance and support. Highlight distinguishing elements of the services to be provided that will benefit the District and optimize system performance.
| 16d) | Provide the location of the service office(s) that would be responsible for the system maintenance and performance monitoring of the District's Photovoltaic Systems.
| 16e) | If maintenance will be performed by a sub-contractor, identify the subcontractor and provide their location and a detailed description of their relevant experience and qualifications.
Performance Estimation | 17a) | Identify and describe all models and data sources that will be employed to estimate the performance of your PV systems
| 17b) | Provide a detailed description of the methodology and procedure that will be used to estimate the performance of your PV systems
| 17c) | Describe any research conducted by or on behalf of your firm to calibrate and ensure the the accuracy of performance modeling
| 17d) | State whether any reductions or other changes were made to the model results for the annual output production described above. If changes were made, quantify the changes and explain why you made the changes.
| 17e) | Provide the expected annual output degradation rate (%).
| 17f) | Explain the basis for your firm's choice of performance model(s) and data sources.
| 17g) | Describe your firm's or subcontractor's experience developing performance estimates.
| 17h) | In a labeled attachment, provide resumes of your employees and/or subcontractors engaged in performance estimation. | Please provide as attachment labeled "Performance Estimation, 17h" in Appendix 8-A-2
Warranties and Service | 18a) | State the PV module warranty period.
| 18b) | In a labeled attachment, provide a copy of the PV module warranty. | Please provide as attachment labeled "Warranties and Service, 18b" in Appendix 8-A-2
| 18c) | State the inverter warranty period.
| 18d) | In a labeled attachment, provide a copy of the inverter warranty. | Please provide as attachment labeled "Warranties and Service, 18d" in Appendix 8-A-2
| 18e) | Provide your firm's standard system warranty and service contract provisions. | Please provide as attachment labeled "Warranties and Service, 18e" in Appendix 8-A-2
Performance Guarantees | The District expects to require an output guarantee for a term of twenty-five (25) years. A summary description of the performance guarantee is provided in the Guide to Table 8-A-2 in Section 9.3.4.8 of the RFP.
Details on the performance guarantee are contained in Exhibit G.
| 19a) | Identify any concerns or issues with the District's performance guarantee requirement that you believe would need to be addressed as a condition for your entering into this performance guarantee.
| 19b) | Optional: Provide any additional material regarding the performance guarantee that may be useful for the District to consider. This information may be entered here, or provided in a labeled attachment.
Excluded Costs | 20a) | Identify any categories of costs, apart from those described in Section 4 of the RFP, that the District may reasonably need to incur in order to properly operationalize and maintain the PV Systems included in your RFP response and that are excluded from the pricing provided in your RFP response.